© 2014 WILEY-VCH Verlag GmbH & Co. KGaA, Weinheim 1

www.advmat.de

www.MaterialsViews.com

wileyonlinelibrary.com

COMMUNICATION

Graphene/MoS 2 Heterostructures for Ultrasensitive

Detection of DNA Hybridisation

Phan Thi Kim Loan , Wenjing Zhang , Cheng-Te Lin , Kung-Hwa Wei ,* Lain-Jong Li ,*

and Chang-Hsiao Chen *

DNA hybridization, [ 24–28 ] where the DNA molecules are found

to act as potential gating agents that impose p - doping [ 29 ] to graphene

layers, leading to the changes in the electrical properties

of graphene. In principle, the electrical conduction of an

ideal graphene with a Fermi level close to the Dirac point is

very sensitive to the external charge perturbation. The detection

of single molecule has also been successfully demonstrated in

gas phase. [ 30,31 ] However, the practical biomolecular detection

is performed in an aqueous solution, where the water molecules

easily affect the Fermi level of graphene such that it is

away from the Dirac point. Thus, the reported detection sensitivity

for DNA based on the change of graphene properties

such as electrical conductivity and carrier concentration has

only reached the concentration level of few tens pM. [ 32 ] In addition,

graphene is known as a material without an energy gap,

making it hard to perform the detection with optical absorption

or emission methods.

Recently, Zhu et al. have reported that a single-layer MoS 2

nanosheet exhibits high fl uorescence quenching ability,

which assists the detection of biomolecules with fl uorescence

probes. [ 33 ] Mak et al. have reported that the photoluminescence

(PL) intensity of MoS 2 monolayer depends strongly on

the applied gate voltage. [ 34 ] The ultrasensitivity of the MoS 2

monolayer to the extrinsic charge doping actually provides

an excellent avenue for detecting the target DNA molecules,

under the condition that DNA molecules need to be dissolved

in an aqueous buffer solution. One immediate challenge of

using these 2d MoS 2 monolayers for detection is that their

optical or electrical property is affected by the presence of

moisture and oxygen, [ 35 ] which makes it hard to differentiate

the signals resulting from DNA and water molecules. Also the

MoS 2 fi lm may be degraded or oxidized after exposing to the

ambient environment. Here, we report that a hetero-structural

stacking fi lm “graphene on MoS 2 ” (graphene/MoS 2 ) provides

an excellent and ultrasensitive platform for the detection

of DNA hybridization. The graphene serves as a protection

layer to prevent the reaction between MoS 2 and the ambient

environment as well as a biocompatible interface layer to

host DNA molecules on its surfaces. The photoluminescence

(PL) intensity of the MoS 2 layer in the graphene/MoS 2 stack

increases with the concentration of the added target DNA. The

detection limit is able to reach the level of aM. The response

time for the real time detection in aqueous solutions is as fast

as a few minutes, demonstrating that the heterostructures are

directly applicable to ultrasensitive detection of DNA detection.

The principle revealed in this report also enable the further

extension to the detection of antibody-antigen and other

DOI: 10.1002/adma.201401084 probe-target systems.

Dr. W. Zhang, Dr. C.-T. Lin, Dr. L.-J. Li, Dr. C.-H. Chen

Institute of Atomic and Molecular Sciences

Academia Sinica

Taipei 10617 , Taiwan

Fax:(+886) 223668264

E-mail: lanceli@gate.sinica.edu.tw;

d9535809@oz.nthu.edu.tw

P. T. K. Loan, Dr. K.-H. Wei

Department of Materials Science & Engineering

National Chiao Tung University

HsinChu 30010 , Taiwan

E-mail: khwei@mail.nctu.edu.tw

Dr. L.-J. Li

Department of Medical Research

China Medical University Hospital

Taichung , Taiwan

Ultrasensitive detection of specifi c DNA or peptide sequences

is of great importance in disease diagnostics, environmental

monitoring, gene therapy, biomolecular analysis and other biomedical

applications. [ 1–3 ] Polymerase chain reaction (PCR) [ 4 ]

and rolling circle amplifi cation (RCA) [ 5 ] have been widely

used for target and signal amplifi cation. Nevertheless, these

methods involve complicated, high cost or time-consuming

procedures. Due to the strong demands of rapid, selective and

sensitive detection of DNA, optical and electrochemical detection

methods relying on the fl uorescent or electrochemical tags

have been widely used. [ 6–9 ] Another approach such as label -

free electrical detection has also recently attracted extensive

research efforts since no fl uorescent or electrochemical tags are

required, [ 10–13 ] which substantially lowers the cost of the detection.

Meanwhile, many new technologies are being developed

to enhance the detection sensitivity of DNA concentration. The

Si-nanowire sensors based on surface-enhanced Raman scattering

[ 14 ] or fi eld-effect transistor [ 15–18 ] have been demonstrated

to detect the DNA at a concentration range of 0.1∼1 fM. Several

reports have recently made advances to approach the detection

limit of sub-femtomolar level. [ 19–21 ] An even higher sensitivity

in the attomolar range can only be achieved with the aid of

signal amplifi cations. [ 22 ] Hence, it is of great challenge to demonstrate

the label free and direct attomolar detection.

The large surface area and unique optical/electrical properties

of two - dimensionality (2d) monolayer materials make them

suitable to interface with biomolecules. For example, graphene

is a highly biocompatible and stable material in aqueous solutions.

[ 23 ] Graphene and its derivatives graphene oxide have been

used to interact with DNA molecules for sensitive detection of

Adv. Mater. 2014,

DOI: 10.1002/adma.201401084

2

www.advmat.de

www.MaterialsViews.com

wileyonlinelibrary.com © 2014 WILEY-VCH Verlag GmbH & Co. KGaA, Weinheim

COMMUNICATION

We performed the direct growth of crystalline MoS 2 monolayer

fl akes on a sapphire substrate by the vapour-phase reaction

of MoO 3 and S powders in a hot-wall CVD system. [ 36,37 ]

The atomic force microscopy (AFM) image in Figure 1 a shows

that the as-grown MoS 2 fl akes are mostly monolayers (thickness

∼0.72 nm, Figure S1) and approximately several micron

in lateral size. Large-area CVD graphene monolayer was grown

on copper foils at 1000 C by a CVD method using a mixture

of methane and hydrogen gases as reported elsewhere. [ 38–40 ]

Figure S2 schematically demonstrates fabrication process

of the heterostructure sensor. Figure 1 b displays that the asgrown

MoS 2 fl akes exhibit two characteristic peaks including

E ′(or E 1 2g ) at 384.1 cm −1 and A ′1 (or A 1g ) at 402.3 cm −1 , [ 41,42 ]

confi rming that they are MoS 2 monolayers. [ 43 ] To stack the

graphene monolayer on MoS 2 , a layer of PMMA thin fi lm

was coated on the graphene/Cu foil as a transfer supporting

layer. [ 44,45 ] After the wet etching by a Cu etching solution, the

PMMA-supported graphene fi lm was transferred on top of the

MoS 2 fl akes, followed by the removal of PMMA. The PL spectrum

of an as-grown MoS 2 monolayer fl ake in Figure 1 c shows

one pronounced emission peak at 1.87 eV, assigned as the A

direct excitonic transition. [ 46 ] This peak shifts to a lower energy

∼1.84 eV after the MoS 2 monolayer was covered with CVD

graphene. Note that the PL spectra were scaled for better comparison.

Meanwhile, the broad peak at ∼1.97 eV belonging to

the B direct transition is not pronounced for both as-grown and

graphene/MoS 2 structure, likely due to that it is not the lowest

energy transition. [ 47,48 ]

Figure 1 d shows the schematic for the PL measurement

of the stacked graphene/MoS 2 fi lm, where a confocal system

equipped with a 473 nm laser is used for probing the PL signal

of the heterostructures. The sequences of the DNA molecules

used in this study are shown in Figure 1 d. The integrated PL

peak area mappings (laser spot focused to ∼1 μm in diameter)

were collected before and after the probe DNA immobilization,

and after the addition of the DNA analyte solutions (complementary

or one-base mismatched DNA) with various concentrations.

We perform the PL measurements for the heterostructural

stacks in a dry state, where the sample was rinsed with

deionized water and dried after each probe DNA immobilization

and target DNA addition. It is noted that the methodology

of dry state testing has been widely used in many DNA

sensing reports, [ 1,49 ] where the key step is to immobilize the

probe-DNAs on top of graphene by the partial charge transfer

of electron from the NH 2 groups of DNA bases to graphene.

The target DNAs can be securely bonded to the probe-DNAs

and remained on substrate even with violent rinsing while the

mismatched-DNAs can be easily removed by rinsing. Figure 2 a

shows the spatial PL mappings for the graphene/MoS 2 stack

fi lm immobilized with the probe DNA solution (40 μL; 10

Adv. Mater. 2014,

DOI: 10.1002/adma.201401084

Figure 1. (a) AFM image of a MoS 2 monolayer fl ake grown at 650 C on a sapphire substrate. (b) The Raman spectrum for the CVD MoS 2 monolayer.

(c) The photoluminescence spectra for the CVD MoS 2 monolayer and graphene/MoS 2 heterostructure. (d) Schematic illustration of the DNA detection

method using a microscope and the graphene/MoS 2 heterostructure sensor.

3

www.advmat.de

www.MaterialsViews.com

© 2014 WILEY-VCH Verlag GmbH & Co. KGaA, Weinheim wileyonlinelibrary.com

COMMUNICATION

μM) and hybridized with the complementary DNA solutions

(40 μL with various concentrations from 1 aM to 100 aM),

where the integrated peak area from 1.7 eV to 1.95 eV (linear

baseline is applied in between 1.7 eV and 1.95 eV as shown in

the graph) is plotted as the false color based on the color index

on the right. Figure S3 shows other sets of PL mappings for

the heterostructures hybridized with the complementary target

DNA. The bottom graphs in Figure 2 b displays the comparative

results using one-base mismatched DNAs for hybridization.

The PL color mapping clearly and qualitatively reveals that the

integrated PL peak area of the graphene/MoS 2 stacks responds

to the target DNA but not to the mismatched DNA, demonstrating

the capability to differentiate these DNA molecules.

To quantitatively analyse the data, we select the site with the

highest integrated PL peak area in each mapping and plot them

in Figure 2 c. The PL of the graphene/MoS 2 stack fi lm with a

similar profi le to that of pure a MoS 2 fi lm is still originated

from the emission of MoS 2 [ 50 ] and its intensity increases after

the immobilization of complementary DNA. More importantly,

the integrated PL peak area signifi cantly increases with the concentration

of the added complementary DNA solutions. The

integrated PL peak area over 1.7 eV to 1.95 eV for each condition

is also summarized in Figure 2 c, where we can see a positive

correlation between integrated PL peak area (in an arbitrary

unit) and the concentration of the added complementary DNA

from 1 aM to 1 fM. By contrast, when the one-base mismatched

DNA solution is used for hybridization, there is no pronounced

PL-DNA concentration correlation as shown in Figure 2 d.

It is already known from previous reports [ 32,51 ] the difference

between these two hybridization processes (target and one-base

Adv. Mater. 2014,

DOI: 10.1002/adma.201401084

Figure 2. PL peak area mappings of the graphene/MoS 2 heterostructure hybridized with (a) the complementary target DNA and (b) the mismatched

DNA. The PL spectra and integrated PL peak area in the presence of (c) target DNA (1, 10, 100, and 1000 aM) and (d) mismatched DNA (1, 10, 100,

and 1000 aM).

4

www.advmat.de

www.MaterialsViews.com

wileyonlinelibrary.com © 2014 WILEY-VCH Verlag GmbH & Co. KGaA, Weinheim

COMMUNICATION

mismatched) is caused by the fact that the target DNA molecules

can strongly bind to the probe-DNA and thus stay on the

surface of graphene. Hence, the PL intensity is related to the

charges of the target DNA molecules and those associated to

the target-DNA molecules. These charges are able to build an

electric fi eld that affects the charge states of the MoS 2 .

It should be noted we have shown in our previous study [ 32 ]

that the immobilization of probe DNA onto the pristine graphene

does not necessarily cause a consistent n- or p-doping

since the property of pristine graphene is strongly related to

graphene/solution interface properties, which are complicated

by the surface condition of graphene, adsorption of DNA and

counter ions on graphene, the screening of DNA charges by

counter ions, as well as the morphology of single-stranded and

hybridized DNAs. However, the subsequent immobilization by

addition of complementary DNA always causes a consistent

change in electrical properties which can be used for DNA

detection.

To further examine whether the PL of the graphene/MoS 2

stacks can be affected by an external electrical fi eld, we perform

the PL measurements for a graphene/MoS 2 stacked fi lm under

various applied bottom gate voltages (−50 V, −30 V, −10 V, 10 V,

30 V and 50 V). Figure 3 a shows that each PL profi le can be

fi tted with two Lorentzian peaks at 1.82 eV and 1.86 eV. The

trion (A −) and exciton (A) PL peaks have been identifi ed in the

mechanically exfoliated MoS 2 monolayer, [ 34 ] where the PL peak

caused by a A −trion is with a lower energy and shows little gate

voltage dependence. In contrast, the PL intensity of the higher

energy A exciton peak decreases with the increasing positive

value of the applied gate voltage since the doping induces

the spectral weight reduction of the A excition resonance. [ 34 ]

Figure 3 b displays the integrated peak area for the two fi tted

PL peaks of the graphene/MoS 2 stack fi lm as a function of the

applied gate voltage, where the gate dependence of these two

peaks at 1.82 eV and 1.86 eV behaves similarly to the MoS 2

monolayer A −trion and A exciton peaks, respectively. Since the

electrical fi eld is coupled through a thick silicon oxide (300 nm)

in this experiment, only limited electrical fi eld is applied to the

sample. However, the observed behaviour is consistent with the

literature. [ 34 ] These observations suggest that the applied electrical

fi eld does affect A exciton and thus the overall PL intensity

from the MoS 2 in the graphene/MoS 2 stack fi lm. The intensity

increases upon the target DNA hybridisation (as displayed in

Figure 2 ) resembles the application of a negative gate voltage,

owing to the fact that the target DNA molecules bring negative

charges onto the surfaces of the graphene/MoS 2 bilayer. And

this conclusion is rational since DNA molecules are with large

amounts of negative phosphate groups.

We have previously reported that when a monolayer graphene

is stacked onto a MoS 2 monolayer the graphene receives

electrons from MoS 2 , which reduces the electron concentrations

of the initially n -doped MoS 2 monolayer. [ 50 ] Based on

the doping (or gate-voltage) dependence of the A −exciton PL

intensity, [ 34 ] the sensitivity is higher when the MoS 2 becomes

less n -doped (or approaches neutrality). Hence, the incorporation

of the graphene not only helps to interface DNA molecules

with the MoS 2 layer but also lower the n-doping in MoS 2 layer,

making the charge detection more sensitive.

It has been reported that the peak width and position of

Raman A ’ 1 band (∼402 cm −1 ) are sensitive to the Fermi energy

change or carrier concentration in MoS 2 . [ 52 ] To understand the

details of the PL enhancement upon DNA hybridisation (i.e.

additional doping induced by DNA adsorption on graphene/

MoS 2 ), Raman spectroscopy is adopted to monitor the change of

the charge state in MoS 2 monolayers. Since a

low probe-DNA concentration did not result

in apparent changes in Raman features, we

perform the hybridisation with much higher

target-DNA concentrations in the range from

1 pM to 1 nM, where the baseline corrected

Raman spectra are shown in Figure S4. When

the Raman spectra are normalized to the E ’

peak height, both the peak intensity and peak

energy of A ’ 1 increase with the target-DNA

concentrations. The A ’ 1 frequency shows a

blue-shift from ∼402.1 to ∼404.7 cm −1 as the

target-DNA concentration increases, while

the E ’ frequency is fi xed at ∼384.1 cm −1 . The

frequency separation between the A ’ 1 and E ’

increases from 18 to 20.6 cm −1 . These results

show that the A ’ 1 vibration mode is very sensitive

to the charge doping, and the E ’ mode

remains relatively inert. Meanwhile, the peak

width becomes narrower with the DNA concentration,

indicating that the MoS 2 layer

becomes less n -doped (or reduction in electron

concentration). [ 52 ]

It is interesting to know whether the graphene

layer is affected by the DNA sensing.

Figure S5 shows the Raman D and G band

profi les for the graphene directly on top of

Adv. Mater. 2014,

DOI: 10.1002/adma.201401084

Figure 3. (a) The photoluminescence spectra of a graphene/MoS 2 fi eld effect transistor in the

range of 1.7–1.95 eV for the indicated back-gate voltages. The A −trion and A exciton features

are fi tted to two Lorentzian peaks (dashed lines). The A −trion (red dashed line) and A exciton

(blue dashed line) intensity responds differently with the gate voltage. (b) Gate voltage dependence

of the integrated PL peak area for the A −trion and A exciton peaks.

5

www.advmat.de

www.MaterialsViews.com

© 2014 WILEY-VCH Verlag GmbH & Co. KGaA, Weinheim wileyonlinelibrary.com

COMMUNICATION

the MoS 2 fl ake. It is observed that the G and D bands do not

change at all with the hybridisation process, suggesting that

the Fermi energy of graphene layer is not infl uenced by the

DNA sensing. This may be understood by the preferred electron

transfer from MoS 2 to graphene caused by the band offset

between MoS 2 and graphene. [ 50 ] In another word, any induced

hole in graphene shall be fi lled by the electron from MoS 2 ,

leading to the reduction of electrons in MoS 2 layer.

The PL spectra for the graphene/MoS 2 stacks added with

various concentrations of target DNA are shown in Figure 4 a.

To simplify the peak fi tting, a line connecting the data point at

1.7 eV and at 1.95 eV is used as the baseline for each PL spectrum.

Similar to Figure 3 , Figure 4 a shows that each PL profi le

can be fi tted to two Lorentzian peaks attributed to the A −trion

and A exciton peaks. The change of the peak intensity with the

target DNA concentration is shown in Figure 4 b. The PL intensity

of the A exciton is much more sensitive to the target DNA

concentration than the A −trion. Based on the conclusion drawn

from Figure 3 , the amount of the positive charges in MoS 2 fi lm

increase with the addition of target DNA. Figure 4 c schematically

illustrates that the DNA adsorption on graphene/MoS 2

results in more positive charges in the MoS 2 and thus enhances

it’s overall PL intensity.

The above results and discussions show that the detection

of DNA molecules with the photoluminescence from the

graphene/MoS 2 heterostructure is feasible. For more practical

application, it is useful to be able to perform the real

time and ultra-sensitive detection in aqueous states. Figure 5

shows the real time measurement of the PL intensity for the

probe-DNA immobilized graphene/MoS 2 structures in a DNA

buffer solution as well as the solutions incorporating various

concentrations of DNA molecules (1a M, 10 aM, 100 aM

1f M) at the time indicated in the fi gure. The fast increase

in PL intensity after each solution replacement suggests the

occurrence of DNA hybridisation. More importantly, the proposed

graphene/MoS 2 heterostructure is able to sense the aM

Adv. Mater. 2014,

DOI: 10.1002/adma.201401084

Figure 4. (a) The photoluminescence spectra of a graphene/MoS 2 stacked fi lm in the range of 1.7–1.95 eV. The PL peak area of the A −trion (red dashed

line) and A exciton (blue dashed line) responds differently with target DNA concentration. (b) Dependence of the integrated PL peak area on target

DNA concentration. (c) Schematic illustration for the charge distribution of DNA on graphene/MoS 2 .

6

www.advmat.de

www.MaterialsViews.com

wileyonlinelibrary.com © 2014 WILEY-VCH Verlag GmbH & Co. KGaA, Weinheim

COMMUNICATION

Adv. Mater. 2014,

DOI: 10.1002/adma.201401084

concentration of target DNA. More data set is shown in supporting

Figure S6.

In summary, we have devised a graphene/MoS 2 heterostructure

by stacking graphene on a CVD MoS 2 crystalline

monolayer, and the photoluminescence characteristics of the

constructed graphene/MoS 2 fi lm are used for label-free and

selective detection of DNA hybridization. The graphene serves

as a protection layer to prevent the reaction between MoS 2 and

the ambient environment as well as a biocompatible interface

layer to host DNA molecules on its surfaces. The photoluminescence

(PL) intensity of the MoS 2 layer in the graphene/

MoS 2 stack increases with the concentration of the added target

DNA. The differentiation of complementary and one-base mismatched

DNA with the graphene/MoS 2 heterostructure can be

performed at a concentration as low as 1 aM (10 −18 M), indicating

high sensitivity for this proof-of-concept heterostucture.

It is anticipated that the graphene/MoS 2 heterostructure may

be further expanded to the area of label-free detection of protein,

metal-ion contaminants in water, bacteria, and intercellular

or extracellular activities.

Experimental Section

CVD Growth of MoS 2 : MoS 2 triangular single crystals were synthesized

based on our previous work. [ 53] In brief, sapphire (0001) substrate (Tera

Xtal Technology Corp) were fi rst cleaned in a H 2 SO 4 /H 2 O 2 (70:30)

solution heated at 100 C for 1 hr. The substrates were placed in the

center of a 4” tubular furnace on a quartz holder tilted 60to tube

horizontal. Precursors of 0.6 g MoO 3 (Sigma-Aldrich, 99.5%) in Al 2 O 3

crucible was placed 12 cm away from substrates and S (Sigma-Aldrich,

99.5%) powder in quartz tube was placed 8 cm away from furnace

open-end at upstream position in a 4” quartz tube. The furnace was

fi rst heated to 150 C at 10 C/min rate with 70 sccm Ar at 10 torr and

annealed for 20 minutes, then reached 650 C at 25 C/min rate and kept

for 1 hr. Sulfur was heated by heating belt at 160 C when furnace reached

400 C. After growth, furnace was slowly cooled to room temperature.

CVD Growth of Graphene : The CVD growth of graphene was

performed in a furnace (TF555500030, Lindberg/Blue M) with a quartz

tube (diameter 25 mm). A copper (Cu) foil (Alfa Aesar, item No.13382,

thickness 25 μm, purity 99.8%) was loaded into the center of the

tube, the system was fl ushed with a constant fl ow of argon/hydrogen

(200/20 sccm) at 800 Torr for 30 min, and both gas fl ows were maintained

through the remaining process. The Cu foil was annealed at 1050 C for

60 min to remove organic matter and oxides from the surface. After the

annealing process, a gas mixture of methane, hydrogen and argon (CH 4 

3 sccm, H 2 1 sccm, Ar 500 sccm at 800 Torr) was introduced for 10

min for graphene growth. After the growth of graphene, the graphene/

Cu foil was cooled to 25 C.

Fabrication of Graphene/MoS 2 Devices : To transfer the as-grown

graphene onto the MoS 2 monolayer, the graphene/Cu foil (size 15 mm

15 mm) was spin-coated with a thin layer of PMMA (MicroChem

Co., NANO PMMA 950K A4) to protect the graphene fi lm, followed by

baking at 100 C for 1 min. The samples were immersed in a solution

of ammonium persulfate (0.1 M; J. T. Baker, ACS reagent) at 25 C. The

Cu foil was etched away over 3 h. The PMMA-supported graphene was

transferred into a Petri dish containing a copious amount of distilled

water for 2 hour to dilute and remove the etchant and residues. The

PMMA-supported graphene layer was then transferred on to the MoS 2

monolayer and dried on a hot plate at 70 C for 30 min. Finally, the PMMA

was removed by acetone (J. T. Baker, CMOS Grade) at 25 C for 2 hour,

and then the sample was rinsed with isopropyl alcohol (J. T. Baker,

CMOS Grade) and distilled water to complete the transfer process.

Immobilization of DNAs on Graphene/MoS 2 : The single-strain

sequence of probe, complementary, and one-base mismatched DNAs

(Sigma Aldrich) we used are presented below: probe) 5′-AGG-TCGCCG-

CCC-3′; complementary) 3′-TCC-AGC-GGC-GGG-5′; one-base

mismatched) 3′-TCC-AGC-GGC-GTG-5′. The assigned concentrations

of complementary and one-base mismatched DNAs were prepared by

diluting them with 1PBS solvent (phosphate-buffered saline; UniRegion

Bio-Tech). 1PBS is composed of 13.7 mM NaCl, 0.27 mM KCl,

0.43 mM Na 2 HPO 4 , and 0.147 mM KH 2 PO 4 . For the graphene/MoS 2

sensor device, the exposed surface area of the stack fi lm to DNA solutions

is 0.25 cm 2 , chosen based on our micro PL set-up. The quantity of DNA

solution (40 μL) is enough to cover the exposed surfaces of the stacked

fi lms. First, the graphene/MoS 2 device was immobilized in 10 μM probe

DNA for 4 h at room temperature. A following rinsing step with DI water

was carried out to remove weakly-bound DNAs. The complementary or

one-base mismatched DNAs were dropped onto the device in sequence

from 1 aM to 1000 aM for hybridization with probe DNA. It took 2 hours

for hybridization at each concentration and after that the rinsing step

was always done. A full hybridization experiment was accomplished as a

control study by mixing probe and complementary DNAs in 1PBS for

several hours, and the mixture was then immobilized onto the device for

2 h, followed by a standard washing process.

Measurements and Characterizations : The bottom-gated graphene/

MoS 2 /SiO 2 FETs were measured in a semiconductor parameter

analyser (Keithley 4200-SCS). Photoluminescence and Raman spectra

were collected in NT-MDT confocal Raman microscopic system (laser

wavelength: 473 nm; laser power: 1 mW; spot size: ≈1 μm). The spectra

taken from samples were calibrated against a Si peak at 520 cm −1 .

Supporting Information

Supporting Information is available from the Wiley Online Library or

from the author.

Acknowledgements

This research was supported by Academia Sinica (IAMS

and Nano program) and National Science Council Taiwan

(NSC-102–2119-M-001–005-MY3).

Received: March 10, 2014

Revised: April 14, 2014

Published online:

Figure 5. The real-time photoluminescence response of the graphene/

MoS 2 to the target-DNA with increased concentration.

7

www.advmat.de

www.MaterialsViews.com

© 2014 WILEY-VCH Verlag GmbH & Co. KGaA, Weinheim wileyonlinelibrary.com

COMMUNICATION

Adv. Mater. 2014,

DOI: 10.1002/adma.201401084

[1] F. Wei , P. B. Lillehoj , C.-M. Ho , Pediatr. Res. 2010 , 67 , 458 .

[2] D. Li , S. Song , C. Fan , Acc. Chem. Res. 2010 , 43 , 631 .

[3] A. L. Beaudet , J. W. Belmont , Annu. Rev. Med. 2008 , 59 , 113 .

[4] S. Yang , R. E. Rothman , Lancet Infect. Dis. 2004 , 4 , 337 .

[5] V. V. Demidov , Expert Rev. Mol. Diagn. 2002 , 2 , 542 .

[6] F. Lu , L. Gu , M. J. Meziani , X. Wang , P. G. Luo , L. M. Veca , L. Cao ,

Y.-P. Sun , Adv. Mater. 2009 , 21 , 139 .

[7] D. Fu , H. Lim , Y. Shi , X. Dong , S. G. Mhaisalkar , Y. Chen ,

S. Moochhala , L.-J. Li , J. Phys. Chem. C 2008 , 112 , 650 .

[8] X. Tang , S. Bansaruntip , N. Nakayama , E. Yenilmez , Y.-l. Chang ,

Q. Wang , Nano Lett. 2006 , 6 , 1632 .

[9] J. Wang , Electroanalysis 2005 , 17 , 7 .

[10] S. Sorgenfrei , C.-y. Chiu , R. L. Gonzalez , Y.-J. Yu , P. Kim , C. Nuckolls ,

K. L. Shepard , Nat. Nanotechnol. 2011 , 6 , 126 .

[11] E. L. Gui , L.-J. Li , K. Zhang , Y. Xu , X. Dong , X. Ho , P. S. Lee ,

J. Kasim , Z. X. Shen , J. A. Rogers , S. G. Mhaisalkar , J. Am. Chem.

Soc. 2007 , 129 , 14427 .

[12] K. Maehashi , T. Katsura , K. Kerman , Y. Takamura , K. Matsumoto ,

E. Tamiya , Anal. Chem. 2006 , 79 , 782 .

[13] E.-L. Gui , L.-J. Li , P. S. Lee , A. Lohani , S. G. Mhaisalkar , Q. Cao ,

S. J. Kang , J. A. Rogers , N. C. Tansil , Z. Gao , Appl. Phys. Lett. 2006 ,

89 .

[14] Z. Y. Jiang , X. X. Jiang , S. Su , X. P. Wei , S. T. Lee , Y. He , Appl. Phys.

Lett. 2012 , 100 .

[15] N. Lu , A. Gao , P. Dai , T. Li , Y. Wang , X. Gao , S. Song , C. Fan ,

Y. Wang , Nat. Methods 2013 , 63 , 212 .

[16] A. Gao , N. Lu , Y. Wang , P. Dai , T. Li , X. Gao , Y. Wang , C. Fan , Nano

Lett. 2012 , 12 , 5262 .

[17] A. Gao , N. Lu , P. Dai , T. Li , H. Pei , X. Gao , Y. Gong , Y. Wang , C. Fan ,

Nano Lett. 2011 , 11 , 3974 .

[18] J.-J. Xu , W.-W. Zhao , S. Song , C. Fan , H.-Y. Chen , Chem. Soc. Rev.

2014 , 43 , 1601 .

[19] Y. Yan , W. Sha , J. Sun , X. Shu , S. Sun , J. Zhu , Chem. Commun. 2011 ,

47 , 7470 .

[20] X. Zhou , S. Xia , Z. Lu , Y. Tian , Y. Yan , J. Zhu , J. Am. Chem. Soc.

2010 , 132 , 6932 .

[21] S. Pinijsuwan , P. Rijiravanich , M. Somasundrum , W. Surareungchai ,

Adv. Eng. Mater. 2010 , 12 , B649 .

[22] Y. Wen , H. Pei , Y. Shen , J. Xi , M. Lin , N. Lu , X. Shen , J. Li , C. Fan ,

Sci. Rep. 2012 , 2 .

[23] C.-H. Chen , C.-T. Lin , W.-L. Hsu , Y.-C. Chang , S.-R. Yeh , L.-J. Li ,

D.-J. Yao , Nanomed. Nanotechnol. Biol. Med. 2013 , 9 , 600 .

[24] Z. Yin , S. Sun , T. Salim , S. Wu , X. Huang , Q. He , Y. M. Lam ,

H. Zhang , ACS Nano 2010 , 4 , 5263 .

[25] C.-Y. Su , Y. Xu , W. Zhang , J. Zhao , X. Tang , C.-H. Tsai , L.-J. Li , Chem.

Mater. 2009 , 21 , 5674 .

[26] G. Eda , G. Fanchini , M. Chhowalla , Nat. Nanotechnol. 2008 , 3 , 270 .

[27] L. J. Cote , F. Kim , J. Huang , J. Am. Chem. Soc. 2008 , 131 , 1043 .

[28] P. K. Ang , W. Chen , A. T. S. Wee , K. P. Loh , J. Am. Chem. Soc. 2008 ,

130 , 14392 .

[29] N. Mohanty , V. Berry , Nano Lett. 2008 , 8 , 4469 .

[30] Y.-H. Zhang , Y.-B. Chen , K.-G. Zhou , C.-H. Liu , J. Zeng , H.-L. Zhang ,

Y. Peng , Nanotechnology 2009 , 20 , 185504 .

[31] F. Schedin , A. K. Geim , S. V. Morozov , E. W. Hill , P. Blake ,

M. I. Katsnelson , K. S. Novoselov , Nat. Mater. 2007 , 6 , 652 .

[32] C.-T. Lin , P. T. K. Loan , T.-Y. Chen , K.-K. Liu , C.-H. Chen , K.-H. Wei ,

L.-J. Li , Adv. Funct. Mater. 2013 , 23 , 2301 .

[33] C. Zhu , Z. Zeng , H. Li , F. Li , C. Fan , H. Zhang , J. Am. Chem. Soc.

2013 , 135 , 5998 .

[34] K. F. Mak , K. He , C. Lee , G. H. Lee , J. Hone , T. F. Heinz , J. Shan ,

Nat. Mater. 2013 , 12 , 207 .

[35] S. Tongay , J. Zhou , C. Ataca , J. Liu , J. S. Kang , T. S. Matthews ,

L. You , J. Li , J. C. Grossman , J. Wu , Nano Lett. 2013 , 13 , 2831 .

[36] Y.-H. Lee , L. Yu , H. Wang , W. Fang , X. Ling , Y. Shi , C.-T. Lin ,

J.-K. Huang , M.-T. Chang , C.-S. Chang , M. Dresselhaus , T. Palacios ,

L.-J. Li , J. Kong , Nano Lett. 2013 , 13 , 1852 .

[37] Y.-C. Lin , N. Lu , N. Perea-Lopez , J. Li , Z. Lin , X. Peng , C. H. Lee ,

C. Sun , L. Calderin , P. N. Browning , M. S. Bresnehan , M. J. Kim ,

T. S. Mayer , M. Terrones , J. A. Robinson , ACS Nano 2014 DOI:

10.1021/nn5003858 .

[38] C.-H. Chen , C.-T. Lin , Y.-H. Lee , K.-K. Liu , C.-Y. Su , W. Zhang , L.-J. Li ,

Small 2012 , 8 , 43 .

[39] C.-Y. Su , D. Fu , A.-Y. Lu , K.-K. Liu , Y. Xu , Z.-Y. Juang , L.-J. Li , Nanotechnology

2011 , 22 , 185309 .

[40] S. Bae , H. Kim , Y. Lee , X. Xu , J.-S. Park , Y. Zheng , J. Balakrishnan ,

T. Lei , H. Ri Kim , Y. I. Song , Y.-J. Kim , K. S. Kim , B. Ozyilmaz ,

J.-H. Ahn , B. H. Hong , S. Iijima , Nat. Nanotechnol. 2010 , 5 , 574 .

[41] Y. Zhan , Z. Liu , S. Najmaei , P. M. Ajayan , J. Lou , Small 2012 , 8 , 966 .

[42] H. Terrones , E. D. Corro , S. Feng , J. M. Poumirol , D. Rhodes ,

D. Smirnov , N. R. Pradhan , Z. Lin , M. A. T. Nguyen , A. L. Elias ,

T. E. Mallouk , L. Balicas , M. A. Pimenta , M. Terrones , Sci. Rep.

2014 , 4 , 4215 .

[43] Y. Yu , C. Li , Y. Liu , L. Su , Y. Zhang , L. Cao , Sci. Rep. 2013 , 3 .

[44] C.-L. Hsu , C.-T. Lin , J.-H. Huang , C.-W. Chu , K.-H. Wei , L.-J. Li , ACS

Nano 2012 , 6 , 5031 .

[45] C.-Y. Su , A.-Y. Lu , C.-Y. Wu , Y.-T. Li , K.-K. Liu , W. Zhang , S.-Y. Lin ,

Z.-Y. Juang , Y.-L. Zhong , F.-R. Chen , L.-J. Li , Nano Lett. 2011 , 11 ,

3612 .

[46] A. Splendiani , L. Sun , Y. Zhang , T. Li , J. Kim , C.-Y. Chim , G. Galli ,

F. Wang , Nano Lett. 2010 , 10 , 1271 .

[47] S. Wu , C. Huang , G. Aivazian , J. S. Ross , D. H. Cobden , X. Xu , ACS

Nano 2013 , 7 , 2768 .

[48] J. S. Ross , S. Wu , H. Yu , N. J. Ghimire , A. M. Jones , G. Aivazian ,

J. Yan , D. G. Mandrus , D. Xiao , W. Yao , X. Xu , Nat. Commun. 2013 ,

4 , 1474 .

[49] J. Liu , Z. Cao , Y. Lu , Chem. Rev. 2009 , 109 , 1948 .

[50] W. Zhang , C.-P. Chuu , J.-K. Huang , C.-H. Chen , M.-L. Tsai ,

Y.-H. Chang , C.-T. Liang , Y.-Z. Chen , Y.-L. Chueh , J.-H. He ,

M.-Y. Chou , L.-J. Li , Sci. Rep. 2014 , 4 .

[51] T.-Y. Chen , P. T. K. Loan , C.-L. Hsu , Y.-H. Lee , J. Tse-Wei Wang ,

K.-H. Wei , C.-T. Lin , L.-J. Li , Biosens. Bioelectron. 2013 , 41 , 103 .

[52] B. Chakraborty , A. Bera , D. V. S. Muthu , S. Bhowmick ,

U. V. Waghmare , A. K. Sood , Phys. Rev. B 2012 , 85 , 161403 .

[53] Y.-H. Lee , X.-Q. Zhang , W. Zhang , M.-T. Chang , C.-T. Lin ,

K.-D. Chang , Y.-C. Yu , J. T.-W. Wang , C.-S. Chang , L.-J. Li , T.-W. Lin ,

Adv. Mater. 2012 , 24 , 2320 .