Clinica  Chimica  Acta  436  (2014)  169–175

Contents lists available at ScienceDirect

Clinica Chimica Acta

journal homepage: www.elsevier.com/locate/clinchim

Detection of KRAS codon 12 and 13 mutations by mutant-enriched

PCR assay

Ya-Sian Chang a,b, Tze-Kiong Er c, Hsiu-Chin Lu b, Kun-Tu Yeh d, Jan-Gowth Chang a,b,e,⁎

a Epigenome  Research  Center,  China  Medical  University  Hospital,  Taichung,  Taiwan

b Department  of  Laboratory  Medicine,  China  Medical  University  Hospital,  Taichung,  Taiwan

c Department  of  Laboratory  Medicine,  Kaohsiung  Medical  University  Hospital,  Kaohsiung,  Taiwan

d Department  of  Pathology,  Changhua  Christian  Hospital,  Changhua,  Taiwan

e College  of  Medicine,  China  Medical  University,  Taichung,  Taiwan

a  r  t  i  c  l  e   i  n  f  o

Article  history:

Received  2  October  2013

Received  in revised  form  8  May  2014

Accepted  10  May  2014

Available  online  24  May  2014

Keywords:

Mutant-enriched  PCR  assay

Digital  PCR

Colorectal  cancer

KRAS  gene

Direct sequencing

Single-base  primer  extension

1. Introduction

a  b  s  t  r  a  c  t

Background: The identiﬁcation of KRAS mutations before the administration of anti-epidermal growth factor re-

ceptor (EGFR) therapy of metastatic colorectal cancer (mCRC) has become important. The aim of the present

study was to develop a novel technology that can increase detection sensitivity for KRAS mutations.

Methods: DNAs were extracted from colorectal cancer tissues and formalin-ﬁxed, parafﬁn-embedded (FFPE) co-

lorectal cancer samples. Mutant-enriched PCR assay utilizes the exceptionally thermostable endonucleases,

PspGI for codon 12 and PhoI for codon 13, for speciﬁc amplifying KRAS mutations from mixed samples. The am-

pliﬁed PCR products were subjected to single-base primer extension or sequencing. Digital PCR was used to eval-

uate some of the results.

Results: We compared the results with that from direct sequencing. In the FFPE samples, thirteen discordant sam-

ples were found. We showed that the mutant-enriched PCR assay can identify the codons 12 and 13 mutation in a

mixed population of mutant and wild type DNA sequences at 1:1000 and 1:400, respectively. The sensitivity of

this method is lower than the digital PCR.

Conclusions: We developed a rapid and highly sensitive method to detect codons 12 and 13 mutations of the KRAS

gene. This method is a powerful tool for ﬁnding low-abundance variations in genomic DNA.

© 2014 Elsevier B.V. All rights reserved.

beneﬁt from the addition of cetuximab or panitumumab to standard

chemotherapy [3–7]. Therefore, KRAS mutation testing should be per-

Colorectal cancer (CRC) is one of the most common causes of cancer

death in the world. There are over one million of individuals diagnosed

every year worldwide [1,2]. In recent years, the numbers of CRC inci-

dence have increased considerably in the Asian population. Similarly,

CRC  is  the  third  leading  cause  of  cancer  deaths  in  both  men  and

women in the Taiwanese population. Recently, signiﬁcant improve-

ments have been achieved including patient survival and prognosis by

applying new therapies. Anti-EGFR-targeted therapies with monoclonal

antibodies, such as cetuximab and panitumumab, are a successful strat-

egy for the treatment of metastatic colorectal cancer (mCRC) or after the

failure of conventional chemotherapy. These factors have been devel-

oped to inhibit ligands binding the extracellular domain of EGFR and

then block the downstream intracellular signaling pathways. KRAS is a

downstream molecule in the EGFR signal transduction pathway and

more evidence shows that the patients with KRAS mutations do not

⁎	Corresponding  author  at:  Epigenome  Research  Center,  China  Medical  University

Hospital,  2  Yuh-Der  Road,  Taichung 404,  Taiwan.  Tel.:  +886  4  22052121x2008.

E-mail  address:  d6781@mail.cmuh.org.tw  (J.-G.  Chang).

ttp://dx.doi.org/10.1016/j.cca.2014.05.008

0009-8981/©  2014  Elsevier  B.V.  All  rights  reserved.

formed in all individuals from advanced CRC refractory to ﬁrst-line reg-

imens  to  identify  which  patient's  tumors  will  not  answer  to  the

expensive monoclonal antibody inhibitors of EGFR. Guidelines from

the National Comprehensive Cancer Network have been changed, stat-

ing that anti-EGFR monoclonal antibody therapies are to be restricted

to patients with wild-type KRAS tumors [8].

Several commonly used methodologies are available for detecting

the mutational status of the KRAS gene. These methods including Sanger

sequencing [9], pyrosequencing [10], ampliﬁcation refractory mutation

system-polymerase chain reaction (ARMS-PCR) [11], high resolution

melting (HRM) [12], real-time PCR [13], peptide nucleic acid (PNA)

clamp polymerase chain reaction (PCR) assay [14], wild-type blocking

PCR (WTB-PCR) [15], pyrophosphorolysis-activated polymerization

allele-speciﬁc ampliﬁcation (PAP-ASA) [16], next generation sequenc-

ing (NGS) [17], co-ampliﬁcation at lower denaturation temperature

PCR (COLD-PCR) [18], or digital PCR [19]. All of the methods have

their own advantages and disadvantages. In this study, we used a

mutant-enriched PCR assay to examine the presence of KRAS codon 12

and 13 mutations of patients with colorectal cancer using frozen stored

tissues and formalin-ﬁxed, parafﬁn-embedded (FFPE) tissues.

170	Y.-S.  Chang  et  al.  /  Clinica  Chimica  Acta  436  (2014)  169–175

2. Materials and methods

2.1. Source and extraction of genomic DNA

2.1.1. Tissue specimens

Resected primary colorectal cancers were obtained from 106 pa-

tients in the Changhua Christian Hospital, and these tissues were stored

in liquid nitrogen before DNA extraction. Extraction of DNA was per-

formed as described earlier [20]. The concentration of DNA was deter-

mined at 260 nm using the NanoDrop ND-1000 spectrophotometer

(NanoDrop Technologies Inc, Wilmington, DE). This study was ap-

proved by the Institutional Review Board of the Changhua Christian

Hospital. Moreover, we have checked the K-RAS mutations in these tis-

sue specimens using direct sequencing and single-base primer exten-

sion, and the results have been published [21], and we used these

samples to develop the mutant-enriched PCR assay.

2.1.2. FFPE tissues

The specimens consisted of 83 FFPE colorectal adenocarcinomas

submitted for clinical KRAS mutation analysis. All samples were tested

for mutant-enriched PCR assay. FFPE samples were deparafﬁnized and

air dried, subsequently, DNA was isolated using the proteinase K and

QIAamp® micro DNA extraction kit (QIAGEN, Maryland, MD, USA) ac-

cording to the manufacturer's instructions. The clinic-pathological char-

acteristics of these patients are presented in the Table 1.

2.2. Mutant-enriched PCR assay for screening mutation of KRAS codon

12 mutations

The mutant-enriched PCR is a one-step PCR with restriction diges-

tion to eliminate wild-type genes selectively, thus enriching the mutat-

ed genes. This assay was performed as described previously with some

modiﬁcations [22]. Brieﬂy, to detect the codon 12 mutations, the se-

quences of primers for PCR ampliﬁcation are as follows: 5′-ACTTGTGG

TAGTTGGACCT-3′ (forward primer) and 5′-TAACTTGAAACCCAAGGT

AC-3′ (reverse primer). The forward primer harbors one mismatched

base (G to C) to introduce a new CCWGG sequence after PCR ampliﬁca-

tion of wild-type alleles. The thermostable restriction enzyme PspGI was

used to digest the CCWGG sequence in the amplicon of the wild-type. In

contrast, codon 12 1st base and 2nd base mutant alleles were not

digested because of the base substitution of G-to-A nucleotide, G-to-T

nucleotide and G-to-C nucleotide at fourth and ﬁfth base of CCWGG,

Table  1

Patients'  characteristics.

Characteristics	No.	Percentage

Total  patients	83

Age

Mean	49

Gender

Male	51	61

Female	32	39

Grade

Well	2	2

Moderate	77	93

Poor	4	5

Location

Colon	45	54

Rectum	28	34

Sigmoid	10	12

No.  of  EGFR-targeted  therapy  (Cetuximab)

Yes	48	58

No	35	42

Response  to  EGFR-targeted  therapy

Responders	22	27

Nonresponders	61	73

resulting in the enriched of mutant alleles. The unusually thermostable

restriction enzyme PspGI (activity half-life of 2 h at 95 °C) [23] resists

deactivation  during  thermal  cycling  of  the  reaction  is  the  key  of

mutant-enriched PCR assay. PCR ampliﬁcation of 0.1 μg DNA with 2.5

U of Pro Taq Plus DNA polymerase (Protech Technology Enterprise,

Taipei, Taiwan) and 0.5 U of PspGI (New England Biolabs, Ipswich, MA,

USA) in the presence of 200 μM dNTPs, 0.2 μM primers, and 1× reaction

buffer was carried out in an Applied Biosystems 2720 Thermal Cycler

(Applied  Biosystems,  Foster  City,  CA,  USA).  The  reaction  mixture

contained a ﬁnal concentration of 10 mM Tris–HCl, 50 mM KCI, 0.01%

gelatin,  1.5  mM  MgCl2  and  0.1%  Triton  X-100.  The  PCR  program

consisted of 5 min at 94 °C followed by 35 cycles of 30 s at 94 °C,

1 min at 56 °C, and 1 min at 72 °C. There was a ﬁnal ampliﬁcation step

of 7 min at 72 °C. The PCR products were semi-quantiﬁed on a 2.5% aga-

rose gel in 0.5× Tris-borate-EDTA (TBE) and visualized by staining with

ethidium bromide (EtBr). The nucleotide of KRAS codon 12 was exam-

ined by single-base primer extension reaction or direct sequencing.

2.3. Mutant-enriched PCR assay for screening mutation of KRAS codon

13 mutations

To detect the codon 13 mutations, the sequences of primers for PCR

ampliﬁcation are as follows: 5′-GTTCTAATATAGTCACATTTTCATTATTTT

TATTATAAAGC-3′  (forward  primer)  and  5′-GTCAAGGCACTCTTGC

CTAGG -3′ (reverse primer). The forward primer harbors one mis-

matched base (G to A) to prevent the restriction enzyme PhoI cut. The

reverse primer harbors one mismatched base (C to G) to introduce a

new GGCC sequence after PCR ampliﬁcation of wild-type alleles. The re-

striction enzyme PhoI was used to digest the GGCC sequence in the

amplicon of the wild-type. In contrast, codon 13 1st base and 2nd base

mutant alleles were not digested because of the base substitution of

G-to-A nucleotide, G-to-T nucleotide and G-to-C nucleotide at ﬁrst or

second base of GGCC, resulting in the enriched of mutant alleles. PCR

ampliﬁcation of 0.1 μg DNA with 2.5 U of Pro Taq Plus DNA polymerase

(Protech Technology Enterprise, Taipei, Taiwan) and 0.1 U of PhoI

(New England Biolabs, Ipswich, MA, USA) in the presence of 200 μM

dNTPs, 0.2 μM primers, and 1× reaction buffer was carried out in an Ap-

plied Biosystems 2720 Thermal Cycler (Applied Biosystems). The reac-

tion  mixture  contained  a  ﬁnal  concentration  of  10  mM  Tris–HCl,

50 mM KCI, 0.01% gelatin, 1.5 mM MgCl2 and 0.1% Triton X-100. The

PCR program consisted of 5 min at 94 °C followed by 35 cycles of 30 s

at 94 °C, 1 min at 56 °C, and 1 min at 72 °C. There was a ﬁnal ampliﬁca-

tion step of 7 min at 72 °C. The PCR products were semi-quantiﬁed on a

2.5% agarose gel in 0.5× TBE and visualized by staining with EtBr. The

nucleotide of KRAS codon 13 was examined by single-base primer ex-

tension reaction or direct sequencing.

2.4. Single-base primer extension reaction

A single-base primer extension reaction was done using ABI Prism

SNaPshot Multiplex kit (Applied Biosystems). The two probes for either

codon 12 1st base and codon 12 2nd base or codon 13 1st base and

codon 13 2nd base were added to the tube containing 1.5 μl of puriﬁed

PCR products, as well as 4 μl of SNaPshot Ready Reaction premix con-

taining AmpliTaq® DNA polymerase and ﬂuorescently labeled ddNTPs.

The sequences of the probes used for mutation analysis have been pre-

viously described [21]. Each 10 μl mixture was subjected to 25 single-

base extension cycles consisting of a denaturing step at 96 °C for 10 s

and primer annealing and extension at 55 °C for 35 s. After cycle exten-

sion, unincorporated ﬂuorescent ddNTPs were incubated with 1 μl of

shrimp alkaline phosphatase (United States Biochemical, Cleveland,

OH, USA) at 37 °C for 1 h, followed by enzyme deactivation at 75 °C

for 15 min. The primer extension reaction products were resolved by

automated capillary electrophoresis on a capillary electrophoresis plat-

form. Brieﬂy, 14 μl of Hi-Di™ Formamide (Applied Biosystems) and

0.28 μl of GeneScan ™-120LIZ® Size Standard (Applied Biosystems)

Y.-S.  Chang  et  al.  /  Clinica  Chimica  Acta  436  (2014)  169–175

171

were added to 6 μl of the primer extension products. All samples were

loaded and run on an ABI Prism 310 DNA Genetic Analyzer (Applied

Biosystems) according to manufacturer's instructions and then ana-

lyzed using GeneScan™ 3.1 (Applied Biosystems).

2.5. PCR ampliﬁcation and direct sequencing

One pair of primer was used to amplify the exon-intron junction and

coding region of exon 2 of the KRAS gene. The sequence of the primer

has been previously described [21]. The PCR was performed with a de-

naturing step at 94 °C for 5 min, then 30 s at 94 °C, 1 min at 56 °C and

1 min at 72 °C for 35 cycles followed by a ﬁnal 7 min at 72 °C. The

PCR product was visualized on a 2.5% agarose gel. These PCR products

were then subjected to direct sequencing using the same primers.

The sequence reaction was performed in a ﬁnal volume of 10 μl, in-

cluding 1 μl of the puriﬁed PCR product, 2.5 μM of one of the PCR

primers, 2 μl of the ABI PRISM terminator cycle sequencing kit v3.1 (Ap-

plied Biosystems) and 2 μl 5× sequence buffer. The sequencing program

is a 25 cycle PCR program (denaturation at 96 °C for 10 s; annealing at

50 °C for 5 s; and elongation at 60 °C for 4 min). All mutations were

conﬁrmed by sequences originating from both the upstream and down-

stream primers. The sequence detection was performed in the ABI Prism

310 Genetic Analyzer (Applied Biosystems) according to standard pro-

tocols. Mutant enriched PCR followed by direct sequencing was done

as described above.

2.6. RainDrop digital PCR

The sequences of the primers and probes used in this study were as

previously described [19]. The PCR reaction was performed in a ﬁnal

volume of 25 μl, including 12.5 μl of the TaqMan Universal Master Mix

(Life Technologies), 2.5 μl of the Droplet Stabilizer (RainDance Technol-

ogies, Lexington, MA), 2.5 μl of the 10× Taqman® Assay Mix and with a

minimum of 6 ng of target DNA template. A droplet was generated using

a hydrodynamic ﬂow-focusing microﬂuidic chip. The droplets contain-

ing PCR reaction components are suspended in inert ﬂuorinated oil

(REB Carrier Oil; RainDance Technologies). The emulsion was then sub-

jected to PCR ampliﬁcation. The PCR was performed with a denaturing

step at 95 °C for 10 min, then 15 s at 95 °C and 1 min at 60 °C for 44 cy-

cles.  After  completion,  the  emulsion  was  reinjected into  a  second

microﬂuidic chip for ﬂuorescence measurement. Custom LabView soft-

ware (National Instruments, Austin, TX) was used to analyze droplet

event data.

2.7. Statistics

Kappa statistics were used to compare mutant-enriched PCR assay

with direct sequencing. k between 0.61 and 0.80 was considered as in-

dicative of signiﬁcance to conclude that both methods provide substan-

tial results. k N 0.81 was considered as indicative of signiﬁcance to

conclude that both methods provide almost perfect results. Adjusted

Wald Method was used to determine positive and negative agreement

conﬁdent intervals.

3. Results

3.1. Mutational analysis of KRAS gene in colorectal cancers

We used direct sequencing to analyze the mutations of the KRAS gene

in codon 12 and codon 13. The results showed in 36 (34%) cases of KRAS

mutation in the 106 tissue specimens of colorectal cancer. Of the 36 KRAS

mutation cases, there were 27 cases of codon 12 mutation including 1

case of GGT → TGT, 1 case of GGT → AGT, 11 cases of GGT → GTT and

14 cases of GGT → GAT. There were nine cases of codon 13 mutation

and were all of GGC → GAC mutant.

The results showed the 35 (42%) cases of KRAS mutation in the 83

FFPE tissues of colorectal cancer. Of the 35 KRAS mutation cases,

there were 31 cases of codon 12 mutation including seven cases of

GGT → TGT, 8 cases of GGT → GTT and 16 cases of GGT → GAT. There

were four cases of codon 13 mutation and were all of GGC → GAC

mutant.

3.2. Analysis of tissue specimens by mutant-enriched PCR assay for screening

mutation of KRAS codon 12 and codon 13 mutations

We examined the presence of the KRAS codon 12 and codon 13 mu-

tations in the same 106 tissue specimens using the mutant-enriched

PCR assay followed by single-case primer extension analysis. The results

showed the same in 36 (34%) cases of KRAS mutation in the 106 cases of

colorectal cancer. The representative examples of the mutant-enriched

PCR  assay  followed  by  single-base  primer  extension  reaction  are

shown  in  Fig.  1.  The  results  of  mutant-enriched  PCR  followed  by

single-base primer extension analysis were identical to the results of se-

quencing analysis.

3.3. Analysis of FFPE tissues by mutant-enriched PCR assay for screening

mutations of KRAS codon 12 and codon 13

We examined the presence of the KRAS codon 12 and codon 13 mu-

tations in the 83 FFPE tissues using the mutant-enriched PCR assay

followed by sequencing analysis. The results showed in the 40 cases

(48%) of KRAS mutation in the 83 cases of colorectal cancer, which in-

cluded nine samples had no mutation in codons 12 and 13 of the KRAS

with direct sequencing analysis, but mutant-enriched PCR assay plus se-

quencing analysis showed KRAS mutations (8 cases were recognized as

codon 12 mutations and one case was diagnosed as codon 13 mutation).

Four other samples had a controversial KRAS codon 12 mutations with

lower ﬂuorescence signal and difﬁcult to be distinguished from wild

type after direct sequencing analysis, but mutant-enriched PCR assay

plus sequencing showed no KRAS mutation (these results were further

conﬁrmed by digital PCR method). The representative examples of the

mutant-enriched PCR assay followed by direct sequencing are shown

in Supplementary Fig. 1.

About KRAS codon 12 screening, no statistically signiﬁcant difference

was found between mutant-enriched PCR following direct sequencing

assay and direct sequencing only (k = 0.699; p b 0.001). For 12 cases

(14.5%), discordant results were obtained, mainly regarding codon 12

mutations (Table 2). The mutations of eight subjects were not detect-

able using the direct sequencing. The representative examples of the

KRAS mutations detected only by mutant-enriched PCR following direct

sequencing assay are shown in Fig. 2(A)–(B). The mutations of four sub-

jects which were found using direct sequencing with much lower muta-

tion peak were not detectable using the mutant-enriched PCR assay. The

representative examples of the KRAS mutations detected only by direct

sequencing are shown in Fig. 2(C).

About KRAS codon 13 screening, no statistically signiﬁcant difference

was found between mutant-enriched PCR assay and direct sequencing

(k = 0.883; p b 0.001). In one case (1%), discordant result was obtained,

mainly regarding codon 13 mutation, which was detectable using the

mutant-enriched PCR assay but not with direct sequencing (Table 3).

3.4. Sensitivity of the mutant-enriched PCR for KRAS mutation

To assess the sensitivity of mutant-enriched PCR assay for screening

mutation of KRAS codon 12 mutations, genomic DNA from the homozy-

gous AGT mutant cell line A549 was serially diluted into wild type KRAS

codon 12 DNA from tissue specimen to obtain decreasing ratios of

mutant-to-wild type sequences. Samples where mutant alleles repre-

sented respectively 100, 10, 1 and 0.1% of the total DNA were subjected

to mutant-enriched PCR in the presence of PspGI. Mutant-enriched PCR

172	Y.-S.  Chang  et  al.  /  Clinica  Chimica  Acta  436  (2014)  169–175

Fig.  1.  Representative  cases  of  KRAS  gene  detection  in  tissue  specimens  using  mutant-enriched  PCR  followed  by  single-base  primer  extension  reaction.  (A)  GGT  →  TGT,  G12C  change

(B)  GGT  →  AGT,  G12S  change  (C)  GGT  →  GTT,  G12V  change  (D)  GGT  →  GAT,  G12D  change  (E)  GGC  →  GAC,  G13D  change.

assay shows that mutant alleles are detectable down to 1:1000 mutant-

to-wild type DNA ratios (Fig. 3).

To assess the sensitivity of mutant-enriched PCR assay for screening

mutation of KRAS codon 13 mutations, genomic DNA from the heterozy-

gous GAC mutant tissue specimen was serially diluted into wild type

KRAS codon 13 DNA from tissue specimen to obtain decreasing ratios

of mutant-to-wild type sequences. Samples where mutant alleles repre-

sented respectively 100, 4, 1 and 0.25% of the total DNA were subjected

to mutant-enriched PCR in the presence of PhoI. Mutant-enriched PCR

assay shows that mutant alleles are detectable down to 1:400 mutant-

to-wild type DNA ratios (Fig. 3).

type KRAS gene from normal blood specimen to obtain decreasing ratios

of mutant-to-wild type sequences. Digital PCR shows that mutant alleles

are  detectable  down  to  1:100000  mutant-to-wild  type  DNA  ratio

(Table 4). This method was also used to recheck the mutations of two

cases (with G12V mutation) which showed mutations using direct se-

quencing but no mutation using mutant-enriched assay. The results of

digital PCR showed no mutation in these cases, which were similar to

the results of mutant-enriched assay. We also checked the mutations

of the cases with no mutation after direct sequencing analysis but posi-

tive mutation (G12V mutation) using mutant-enriched PCR assay, and

the results were similar with mutant-enriched PCR assay.

4. Discussion

3.5. Comparison of the sensitivity of the digital PCR with mutant-enriched

PCR assay for KRAS mutation

To assess the sensitivity of digital PCR for screening mutation of KRAS,

genomic DNA from the homozygous GTT mutant cell line SW620 (G12V

mutation) was serially diluted into genomic DNA containing the wild-

Table  2

Agreement  analyses  between  mutant-enriched  PCR  and  direct  sequencing  for  the  detec-

tion  of  KRAS  codon  12  mutations  in  FFPE  tissues.

Mutant-enriched  PCR

n  =  83	MD	MND	Totals

Direct  sequencing

MD	27	4	31

MND	8	44	52

Totals	35	48	83

Positive  agreement:  77%  CI 95%  [60.7%;  88.2%]

Negative  agreement:  92%  CI  95%  [79.9%;  97.2%]

MD  mutation  detected,  MND  mutation  not  detected.

Recent studies have found that mutation of KRAS in mCRC didn't

contribute to the therapeutic response to anti-EGFR-targeted therapies

with monoclonal antibodies [24–26]. In this study, we developed a

new KRAS mutation test, in which these KRAS mutations are easily de-

tection of a low concentration of mutant target in the presence of a

large excess of wild-type DNA that is often found in clinical specimens.

Our results indicate that this assay is a sensitive, cost-effective and clin-

ically applicable method to evaluate the most common KRAS mutations

in the FFPE tissue of patients with mCRC. Mutant-enriched PCR assay

leads to selective ampliﬁcation of mutant codon 12 or codon 13 KRAS se-

quences   through   a   restriction   endonuclease-mediated   selection

(REMS)-PCR. A mutagenic primer introduces a variation that creates

the recognition site for PspGI or PhoI in the wild-type codon 12 or

codon 13 target sequence, thereby suppressing the exponential ampliﬁ-

cation of the wild-type allele. The mutant alleles escape digestion and

this enables their exponential ampliﬁcation. Thus, tumor specimens

that contained a KRAS wild-type can be ruled out in this step. To mea-

sure the exact nucleotide alteration of the target ampliﬁed, the single-

base primer extension reaction or sequencing is done.

Y.-S.  Chang  et  al.  /  Clinica  Chimica  Acta  436  (2014)  169–175

173

Fig.  2.  Representative  cases  of  KRAS  mutation  detected  by  mutant-enriched  PCR  and  their  matched  direct  sequencing  results.  (A)  A  KRAS  mutation  detected  only  by  mutant-

enriched PCR (GGT → GAT, G12D change), (B)  a KRAS mutation detected only by mutant-enriched PCR (GGT → TGT, G12C change), (C)  a KRAS mutation detected only by direct

sequencing  (GGT  →  TGT,  G12C  change).

Compared with other PCR-based methods for the enrichment of mu-

tant alleles, only one primer set was needed in mutant-enriched PCR

assay. It was not necessary to use costly probes and be able to detect

all 12 types of possible mutations at codons 12 and 13 of KRAS gene

after direct sequencing the mutant-enriched PCR products. It is better

than the traditional PCR with direct sequencing approach which is not

mutant enriched. Sometimes, probe-based methods cannot detect all

the possible mutations, which need further sequencing the PCR product

and similar to the traditional PCR approach. There are some disadvan-

tages of our method, such as our mutant-enriched PCR assay needs to

sequence the PCR product to get the mutation changes resulting in

Table  3

Agreement  analyses  between  mutant-enriched  PCR  and  direct  sequencing  for  the  detec-

tion  of  KRAS  codon  13  mutations  in  FFPE  tissues.

Mutant-enriched  PCR

n  =  83	MD	MND	Totals

Direct  sequencing

MD	4	0	4

MND	1	78	79

Totals	5	78	83

Positive  agreement:  80%  CI 95%  [79.9%;  97.2%]

Negative  agreement:  100%  CI 95%  [96%;  100%]

MD  mutation  detected,  MND  mutation  not  detected.

Fig.  3.  Sensitivity  of  mutant-enriched  PCR  assay  for  identifying  the  KRAS  gene  mutation.

(A)  We  tested  10%,  1%  and  0.1%  (mutated/wild-type)  dilutions  of  A549  (mutated  in

codon 12 of KRAS), carrying the mutation in homozygosis. The analytical sensitivity is ap-

proximately 0.1% using mutant-enriched PCR assay. (B) We tested 4%, 1% and 0.25% (mu-

tated/wild-type) dilutions of tissue specimen (mutated in codon 13 of KRAS), carrying the

mutation in heterozygosis. The analytical sensitivity is approximately 0.25% using mutant-

enriched  PCR  assay.

174	Y.-S.  Chang  et  al.  /  Clinica  Chimica  Acta  436  (2014)  169–175

Table  4

Sensitivity  of digital  PCR  for identifying the KRAS gene mutation. We  tested 10%,  1%, 0.1%,

0.01% and 0.001% (mutated/wild-type) dilutions of SW620 (mutated in codon 12 of KRAS),

carrying  the  mutation  in  homozygosis.  The  analytical  sensitivity  is  approximately  0.001%

using  digital  PCR.

Sample  name	Intact  drops  count	Poisson  corrected	Poisson  corrected

wild-type  count	mutant  count

Wild-type	841000	10697	46.1

SW620	8000000	183	22543

1:10	8810000	9472	1464

1:100	8870000	10510	194

1:1000	7710000	9392	90.1

1:10000	8160000	9748	57.1

1:100000	8340000	424	61

increasing the possibility of contamination in comparison with probe-

based detection methods, and some mutations may have no thermosta-

ble restriction enzyme to be used or no proper enzyme cutting site to be

used to distinguish normal allele, such as detection of codon 61 muta-

tions, and sometimes more DNA need to be used.

The digital PCR method is more sensitive than mutant-enriched PCR

assay and which is able to detect less than 0.001% of mutated DNA. But

this approach requires expensive instruments and consumables to per-

form an analysis.

In addition, the inﬂuence of different restriction enzyme concentra-

tions in the mutant-enriched PCR assay should be considered in our

study. In order to test that the wild-type allele is completely digested,

different restriction enzyme concentrations should be applied in the

PCR reaction mixture. We found that when we used high concentration

of  restriction  enzyme,  the  sequence  chromatograms  showed  only

mutant-type nucleotide peak. In contrast, wild-type nucleotide peak ap-

peared when used with the low concentration of restriction enzyme

(data not shown). The reasons are due to incomplete digestion of the re-

striction  enzyme  resulting  in  the  ampliﬁcation  of  wild  allele  and

presence of normal sequence, and these sequencing results will alarm

us about the propriety of concentration of the enzyme digestion. Be-

cause the normal sequence must not present in the sequencing results

after the enzyme digestion, this phenomenon cannot be explained by

false-positive or false-negative results, and it is easy to explain and

ﬁnd this kind of problem after sequencing the PCR product. Similar re-

sults are also found in other studies [27,28].

Molinari et al. have used a similar approach of mutant-enriched PCR

to detect mutations of the KRAS in mCRC [27]. Their method consists of

two ampliﬁcation steps (semi-nested PCR) and used thermal intolerant

restriction enzyme BstNI or BglI for codon 12 or codon 13 respectively

to digest the ﬁrst PCR products, which is inconvenient and easy to be

contaminated. In our study, we chose two unusually thermostable re-

striction enzymes PspGI and PhoI for detecting the mutations of codon

12 and codon 13 respectively. These two enzymes can survive to tem-

perature as high as 95 °C over 2 hours. This character resists deactiva-

tion during thermal cycling of the reaction, allowing the continuous

generation of mutant-type allele during the entire course of PCR ampli-

ﬁcation without an additional procedure of the enzyme to digest the

PCR product. Consequently, this new strategy signiﬁcantly reduced

the probability of contamination, and much more simple and easy to

perform.

The nine mCRC patients initially reported as KRAS wild type and not

responding to cetuximab subsequently were found false negative be-

cause the detection limit of the used direct sequencing method was

too high. When we re-analyzed by mutant-enriched PCR assay, we

found that some tumor specimens contained a KRAS mutation, which

might explain why they did not respond to cetuximab therapy. We

also conﬁrmed the results of some cases by the digital PCR method.

The four mCRC patients initially reported as KRAS mutation and

responding  to  cetuximab,  subsequently  when  we  re-analyzed  by

mutant-enriched PCR assay, we found that the mutant alleles were un-

able to be exponentially ampliﬁed. Simultaneously, we examined the

sequence chromatogram of patients and a little baseline noise was

found (Fig. 2C). Two of them (with G12V mutation) were further con-

ﬁrmed by the digital PCR method.

In conclusion, we developed a mutant-enriched PCR assay to detect

the KRAS codon 12 and codon 13 mutations. The detection of a small

fraction of codon 12 and codon 13 positive tumor cells is useful for

predicting the clinical course of the anti-EGFR monoclonal antibody

treated mCRC.

Supplementary data to this article can be found online at http://dx.

doi.org/10.1016/j.cca.2014.05.008.

Acknowledgments

We thank Su-Lien Chen for technical support for digital PCR. This

study was supported by the Taiwan Ministry of Health and Welfare Can-

cer Research Center for Excellence (MOHW103-TD-B-111-03), Taiwan

Ministry of Health and Welfare Clinical Trial and Research Center of Ex-

cellence (MOHW103-TDU-B-212-113002) and National Science Coun-

cil of Taiwan (NSC 102-2314-B-039-002).

References

[1]   Cunningham D, Atkin W, Lenz HJ, et al. Colorectal cancer. Lancet 2010;375:1030–47.

[2]   Tenesa  A,  Dunlop  MG.  New  insights  into  the  aetiology  of  colorectal  cancer  from

genome-wide  association  studies.  Nat  Rev  Genet  2009;10:353–8.

[3]   Amado    RG,    Wolf    M,    Peeters    M,    et    al.    Wild-type    KRAS    is    required    for

panitumumab   efﬁcacy   in   patients   with   metastatic   colorectal   cancer.   J   Clin

Oncol  2008;26:1626–34.

[4]   De Roock W, Piessevaux H, De Schutter J, et al. KRAS wild-type  state  predicts surviv-

al  and  is  associated  to  early  radiological  response  in  metastatic  colorectal  cancer

treated  with  cetuximab.  Ann  Oncol  2008;19:508–15.

[5]   Lievre  A, Bachet JB, Boige  V, et al. KRAS mutations as  an  independent  prognostic fac-

tor  in patients  with  advanced  colorectal  cancer  treated  with  cetuximab.  J  Clin Oncol

2008;26:374–9.

[6]   Karapetis  CS,  Khambata-Ford  S,  Jonker  DJ,  et  al.  K-ras  mutations  and  beneﬁt  from

cetuximab  in  advanced  colorectal  cancer.  N  Engl  J  Med  2008;359:1757–65.

[7]   Lievre  A,  Bachet  JB,  Le  Corre  D,  et  al.  KRAS  mutation  status  is  predictive  of  response

to  cetuximab  therapy  in  colorectal  cancer.  Cancer  Res  2006;66:3992–5.

[8]   Engstrom  PF,  Arnoletti  JP,  Benson  III  AB,  et  al.  NCCN  Clinical  Practice  Guidelines  in

Oncology:  colon  cancer.  J  Natl  Compr  Cancer  Netw  2009;7:778–831.

[9]   Qiu  T,  Ling  Y,  Chen  Z,  et  al.  Comparison  of  real-time  PCR-optimized  oligonu-

cleotide  probe  method  and  Sanger  sequencing  for  detection  of  KRAS  muta-

tions    in    colorectal    and    lung    carcinomas.    Zhonghua    Bing    Li    Xue    Za    Zhi

2012;41:599–602.

[10]   Sha J, Liang G, Pan J, et al. Application of pyrosequencing technique for improved de-

tection  of  K-Ras  mutation  in  formalin-ﬁxed  and  parafﬁn-embedded  prostate  carci-

noma  tissues  in  Chinese  patients.  Clin  Chim  Acta  2012;413:1532–5.

[11]   Brotto  K,  Malisic  E,  Cavic  M,  Krivokuca  A,  Jankovic  R.  The  usability  of  allele-speciﬁc

PCR and reverse-hybridization assays for KRAS genotyping in Serbian colorectal can-

cer  patients.  Dig  Dis  Sci  2013;58:998–1003.

[12]   Ney JT, Froehner S, Roesler A, Buettner R, Merkelbach-Bruse S. High-resolution melt-

ing analysis as a sensitive prescreening diagnostic tool to detect KRAS, BRAF, PIK3CA,

and  AKT1  mutations  in  formalin-ﬁxed,  parafﬁn-embedded  tissues.  Arch  Pathol  Lab

Med  2012;136:983–92.

[13]   Ugorcakova  J,  Hlavaty  T,  Novotna  T,  Bukovska  G.  Detection  of  point  mutations  in

KRAS  oncogene  by  real-time  PCR-based  genotyping  assay  in  GIT  diseases.  Bratisl

Lek  Listy  2012;113:73–9.

[14]   Nordgard  O,  Oltedal  S,  Janssen  EA,  et  al.  Comparison  of  a  PNA  clamp  PCR  and  an

ARMS/Scorpion  PCR  assay  for  the  detection  of  K-ras  mutations.  Diagn  Mol  Pathol

2012;21:9–13.

[15]   Huang  Q,  Wang  GY,  Huang  JF,  Zhang  B,  Fu  WL.  High  sensitive  mutation  analysis  on

KRAS  gene  using  LNA/DNA  chimeras  as  PCR  ampliﬁcation  blockers  of  wild-type  al-

leles.  Mol  Cell  Probes  2010;24:376–80.

[16]   Milbury CA, Li J, Makrigiorgos GM. PCR-based methods for the enrichment of minor-

ity  alleles  and  mutations.  Clin  Chem  2009;55:632–40.

[17]   McCourt CM, McArt DG, Mills K, et al. Validation of next generation sequencing tech-

nologies  in  comparison  to  current  diagnostic  gold  standards  for  BRAF,  EGFR  and

KRAS  mutational  analysis.  PLoS  ONE  2013;8:e69604.

[18]   Liu  P,  Liang  H,  Xue  L,  et  al.  Potential  clinical  signiﬁcance  of  plasma-based  KRAS  mu-

tation  analysis  using  the  COLD-PCR/TaqMan((R))-MGB  probe  genotyping  method.

Exp  Ther  Med  2012;4:109–12.

[19]   Taly  V,  Pekin  D,  Benhaim  L,  et  al.  Multiplex  picodroplet  digital  PCR  to  detect  KRAS

mutations  in  circulating  DNA  from  the  plasma  of  colorectal  cancer  patients.  Clin

Chem  2013;59:1722–31.

[20]   Lin   SY,   Chen   PH,   Wang   CK,   et   al.   Mutation    analysis   of   K-ras   oncogenes   in

gastroenterologic  cancers  by  the  ampliﬁed  created  restriction  sites  method.  Am  J

Clin  Pathol  1993;100:686–9.

Y.-S.  Chang  et  al.  /  Clinica  Chimica  Acta  436  (2014)  169–175

175

[21]   Chang YS, Yeh KT, Chang TJ, et al. Fast simultaneous detection of K-RAS mutations in

colorectal  cancer.  BMC  Cancer  2009;9:179.

[22]   Amicarelli G, Shehi E, Makrigiorgos  GM, Adlerstein  D.  FLAG  assay  as  a  novel  method

for  real-time  signal  generation  during  PCR:  application  to  detection  and  genotyping

of  KRAS  codon  12  mutations.  Nucleic  Acids  Res  2007;35:e131.

[23]   Morgan  R,  Xiao  J,  Xu  S.  Characterization  of  an  extremely  thermostable  restric-

tion	enzyme,	PspGI,	from	a	Pyrococcus	strain	and	cloning	of	the	PspGI

restriction-modiﬁcation  system  in  Escherichia  coli.  Appl  Environ  Microbiol

1998;64:3669–73.

[24]   Van  Cutsem  E,  Kohne  CH,  Lang  I,  et  al.  Cetuximab  plus  irinotecan,  ﬂuorouracil,  and

leucovorin  as  ﬁrst-line  treatment  for  metastatic  colorectal  cancer:  updated  analysis

of  overall  survival  according  to  tumor  KRAS  and  BRAF  mutation  status.  J  Clin  Oncol

2011;29:2011–9.

[25]   Bokemeyer   C,   Bondarenko   I,   Makhson   A,   et   al.   Fluorouracil,   leucovorin,   and

oxaliplatin  with  and  without  cetuximab  in  the  ﬁrst-line  treatment  of  metastatic  co-

lorectal  cancer.  J  Clin  Oncol  2009;27:663–71.

[26]   Douillard  JY,  Siena  S,  Cassidy  J,  et  al.  Randomized,  phase  III  trial  of  panitumumab

with  infusional  ﬂuorouracil,  leucovorin,  and  oxaliplatin  (FOLFOX4)  versus  FOLFOX4

alone  as  ﬁrst-line  treatment  in  patients  with  previously  untreated  metastatic  colo-

rectal  cancer:  the  PRIME  study.  J  Clin  Oncol  2010;28:4697–705.

[27]   Molinari  F,  Felicioni  L,  Buscarino  M,  et  al.  Increased  detection  sensitivity  for  KRAS

mutations  enhances  the  prediction  of  anti-EGFR  monoclonal  antibody  resistance

in  metastatic  colorectal  cancer.  Clin  Cancer  Res  2011;17:4901–14.

[28]   Qiu  W,  Tong  GX,  Manolidis  S,  Close  LG,  Assaad  AM,  Su  GH.  Novel  mutant-enriched

sequencing  identiﬁed  high  frequency  of  PIK3CA  mutations  in  pharyngeal  cancer.

Int  J  Cancer  2008;122:1189–94.